## Result_1
threshold_payback | payback_years | npv | lcc | lcc_BAU | PV_size | PV_all_year1_production | PV_all_annual_energy_production_avg | PV_all_energy_lcoe | PV_all_serving_load | PV_all_energy_exported | PV_all_energy_curtailed | PV_all_energy_to_Battery_year1 | Battery_size_kw | Battery_size_kwh | Grid_Electricity_Supplied_kWh_annual | Grid_Electricity_Supplied_kWh_annual_bau | LifeCycle_Emission_Reduction_Fraction | LifeCycle_capex_costs_for_generation_techs | LifeCycle_capex_costs_for_battery | Initial_upfront_capex_wo_incentives | Initial_upfront_capex_w_incentives | Initial_upfront_battery_capex | Present_cost_of_replacement_battery_after_tax | Year1_lifecycle_costs_om_before_tax | Yr1_energy_cost_after_tax | Yr1_demand_cost_after_tax | Yr1_total_energy_bill_before_tax | Year1_elec_bill_before_tax_bau | Yr1_export_benefit_before_tax | Yr1_total_operating_cost_before_tax | IRR
5 | 0 | 0 | 6215044.21 | 0 | 0.0086 | 12 | 11 | 0.082 | 2.8813 | 0 | 0 | 0 | 0 | 0 | 1825056 | 0 | 0 | 9.24 | 0 | 12.87 | 9.24 | 0 | 0 | 0.1545 | 219006.71 | 200353.85 | 419360.56 | 0 | 0 | 419360.71 | 0
10 | 0 | 0 | 5657835.58 | 0 | 496.8944 | 703378 | 670227 | 0.0809 | 142695.122 | 0 | 24861.6678 | 0 | 0 | 0 | 1254287 | 0 | 0 | 534872.34 | 0 | 745341.54 | 534872.34 | 0 | 0 | 8944.0985 | 150514.44 | 185370.56 | 335885 | 0 | 0 | 344829.1 | 0
15 | 0 | 0 | 5878217.69 | 0 | 885.4653 | 1253420 | 1194344 | 0.0809 | 178864.8148 | 0 | 119721.2385 | 0 | 0 | 0 | 1109608 | 0 | 0 | 953142.08 | 0 | 1328198.01 | 953142.08 | 0 | 0 | 15938.3761 | 133152.98 | 181725.32 | 314878.3 | 0 | 0 | 330816.68 | 0
20 | 0 | 0 | 6202988.63 | 0 | 1218.092 | 1724269 | 1643002 | 0.0809 | 192439.988 | 0 | 218310.4535 | 0 | 0 | 0 | 1055308 | 0 | 0 | 1311191.6 | 0 | 1827137.97 | 1311191.6 | 0 | 0 | 21925.6556 | 126636.9 | 179443.74 | 306080.64 | 0 | 0 | 328006.3 | 0
25 | 0 | 0 | 6537818.38 | 0 | 1519.6362 | 2151120 | 2049735 | 0.0809 | 200376.0002 | 0 | 312057.5895 | 0 | 0 | 0 | 1023563 | 0 | 0 | 1635783.1 | 0 | 2279454.36 | 1635783.1 | 0 | 0 | 27353.4524 | 122827.61 | 178003.95 | 300831.56 | 0 | 0 | 328185.01 | 0
5 | 0 | 0 | 6215044.21 | 0 | 0.0086 | 12 | 11 | 0.082 | 2.8813 | 0 | 0 | 0 | 0 | 0 | 1825056 | 0 | 0 | 9.24 | 0 | 12.87 | 9.24 | 0 | 0 | 0.1545 | 219006.71 | 200353.85 | 419360.56 | 0 | 0 | 419360.71 | 0
10 | 0 | 0 | 5657835.58 | 0 | 496.8944 | 703378 | 670227 | 0.0809 | 142695.122 | 0 | 24861.6678 | 0 | 0 | 0 | 1254287 | 0 | 0 | 534872.34 | 0 | 745341.54 | 534872.34 | 0 | 0 | 8944.0985 | 150514.44 | 185370.56 | 335885 | 0 | 0 | 344829.1 | 0
15 | 0 | 0 | 5331130.97 | 0 | 1106.5084 | 1566317 | 1492494 | 0.0809 | 184991.4355 | 0 | 23595.943 | 164536.1643 | 392.63 | 5392.67 | 492931 | 0 | 0 | 1191079.61 | 1411217.21 | 3626285.51 | 2602296.82 | 1966526.35 | 0 | 69080.2241 | 59151.72 | 49378.97 | 108530.69 | 0 | 0 | 177610.91 | 0
20 | 0 | 0 | 6237320.76 | 0 | 1214.8742 | 1719714 | 1638661 | 0.0809 | 187808.2318 | 0 | 32937.3805 | 188919.7472 | 448.52 | 9128.53 | 392897 | 0 | 0 | 1307727.85 | 2128323 | 4788116.85 | 3436050.84 | 2965800.45 | 0 | 96012.875 | 47147.65 | 36796.92 | 83944.57 | 0 | 0 | 179957.44 | 0
25 | 0 | 0 | 7105338.29 | 0 | 1305.7006 | 1848283 | 1761171 | 0.0809 | 190509.7428 | 0 | 45374.0255 | 204409.0063 | 499.53 | 12375.06 | 325911 | 0 | 0 | 1405496.23 | 2753184.73 | 5795097.67 | 4158680.96 | 3836550.22 | 0 | 119416.2797 | 39109.31 | 29033.79 | 68143.1 | 0 | 0 | 187559.38 | 0